# Software Design Description (SDD)

## AI-Based ECG Image Digitization System

## 1. Introduction

### 1.1 Purpose

This Software Design Description (SDD) document presents the detailed design of the AI-Based ECG Image Digitization System. It translates the requirements defined in the approved Software Requirements Specification (SRS) into a clear architectural and component-level design. The document serves as a reference for system implementation and evaluation during the Final Year Project.

### 1.2 Scope

This SDD describes the internal design of the system, including:

- Overall system architecture

- Module-level design

- Data flow and processing pipeline

- AI model design

- User interface design

- Technology stack and deployment approach

The system converts scanned or photographed ECG paper-strip images into clean, digitized ECG signals using computer vision and deep learning techniques.

### 1.3 Definitions and Acronyms

## 2. System Overview

### 2.1 System Description

The AI-Based ECG Image Digitization System is a web-based application that accepts ECG images as input, processes them through an AI-powered digitization pipeline, and produces a reconstructed digital ECG waveform in both numerical and visual formats. The system is designed to simplify ECG data digitization for medical, academic, and research use.

### 2.2 Design Goals

- Accurate extraction of ECG waveforms

- Minimal user interaction

- Modular and maintainable system design

- Acceptable processing time on standard hardware

- Support for future scalability and feature extension

## 3. System Architecture

### 3.1 High-Level Architecture

The system follows a layered architecture that separates user interaction, processing logic, AI-based analysis, and output generation. This design approach improves modularity, simplifies debugging, and allows individual components to be enhanced independently.

Figure 3.1: High-level system architecture of the AI-Based ECG Image Digitization System illustrating the interaction between the user interface, image preprocessing module, AI-based segmentation model, signal digitization and reconstruction, and output generation.

3.2 Architectural Components

## 4. Module Design

### 4.1 Module 1: User Interface Module

Responsibilities:

- Upload ECG images

- Display processing status

- Show original and digitized ECG outputs

- Provide download options for results

Technology Used:

- Streamlit

- Matplotlib

### 4.2 Module 2: Image Preprocessing Module

Responsibilities:

- Convert ECG image to grayscale

- Reduce background noise

- Remove gridlines and artifacts

- Enhance waveform contrast

Techniques Used:

- Gaussian blur

- Morphological operations

- Adaptive thresholding

Libraries:

- OpenCV

- NumPy

### 4.3 Module 3: ECG Waveform Detection Module

Responsibilities:

- Detect ECG trace pixels from the image

- Separate waveform from background

Model Architecture:

- CNN-based segmentation model

- U-Net architecture preferred for pixel-level accuracy

Input: Preprocessed ECG image
Output: Binary segmentation mask of ECG waveform

Framework:

- TensorFlow or PyTorch

### 4.4 Module 4: Signal Digitization and Reconstruction Module

Responsibilities:

- Convert waveform pixel coordinates into numerical ECG values

- Map image width to time axis

- Map image height to amplitude axis

- Smooth and normalize the reconstructed signal

Processing Steps:

- Extract waveform pixel coordinates

- Sort extracted points along the x-axis

- Interpolate missing signal values

- Normalize and smooth the signal

Output Format:

- CSV file containing time and amplitude values

### 4.5 Module 5: Visualization and Export Module

Responsibilities:

- Plot the reconstructed ECG signal

- Display extracted waveform overlay

- Enable CSV and image file downloads

Libraries Used:

- Matplotlib

- Pandas

## 5. Data Design

The system processes ECG images through a sequential data pipeline. Data flows from image acquisition to waveform extraction, signal reconstruction, and export, ensuring consistency throughout all processing stages.

### 5.1 Input Data

### 5.2 Intermediate Data

### 5.3 Output Data

## 6. AI Model Design

### 6.1 Model Type

The ECG waveform detection component is implemented using a convolutional neural network-based segmentation approach. A U-Net architecture is preferred due to its ability to preserve fine waveform details while performing pixel-level classification.

### 6.2 Training Dataset

- Kaggle ECG Digitization Challenge Dataset

- Augmented ECG image samples

### 6.3 Loss Function

- Binary Cross Entropy

- Dice Loss (optional, for improved segmentation accuracy)

### 6.4 Evaluation Metrics

- Pixel accuracy

- Intersection over Union (IoU)

- Visual quality of reconstructed ECG waveform

## 7. User Interface Design

### 7.1 UI Flow

- User uploads ECG image

- User initiates digitization process

- System displays results

- User downloads digitized ECG

7.2 UI Components

## 8. Security and Privacy Design

The system processes uploaded ECG images in temporary memory without permanent storage. No personal or patient-identifiable data is collected or retained, ensuring basic privacy and security compliance.

## 9. Deployment Design

### 9.1 Development Environment

- Python 3.8 or higher

- Local machine or Google Colab

### 9.2 Deployment Options

- Local Streamlit application

- Optional cloud-based deployment for scalability

The system design supports efficient execution on both CPU and GPU environments.

## 10. Future Scalability Design

- Batch ECG image processing

- Multi-lead ECG digitization

- REST API integration

- Automated ECG abnormality detection after digitization

## 11. Conclusion

This Software Design Description presents a complete and well-structured design for the AI-Based ECG Image Digitization System. The design aligns with the approved SRS and provides a solid foundation for implementation, testing, and future enhancement as my Final Year Project.